## Sheet1
id | OSF dataset | OSF link | NIFTI filename | Data type | contact | email | site name | MRI vendor | MRI version | MRI field | sample type | phantom version | phantom serial number | phantom temperature | sequence name | sequence type | matrix size | resolution | dimension | TR | echo time | TI | bandwidth
1.001 | matthewgrechsollars_ICL_NIST | https://osf.io/7k96d/download/ | 20200121_matthewgrechsollars_ICL_NIST/20200121_matthewgrechsollars_ICL_NIST_Magnitude_T1map.nii.gz | Magnitude | Matthew Grech-Sollars | m.grech-sollars@imperial.ac.uk | Imperial College London | Siemens | Prisma VE11C | 3 | NIST | 130 | 102 |  | se_TI50/400/1100/2400 | Spin-echo inversion recovery | ['256 256 1'] | ['1 1 2'] | 2D | 2550 | 14 | [50, 400, 1100, 2400] | 130
1.002 | matthewgrechsollars_ICL_NIST | https://osf.io/7k96d/download/ | 20200121_matthewgrechsollars_ICL_NIST/20200121_matthewgrechsollars_ICL_NIST_Complex_T1map.nii.gz | Complex | Matthew Grech-Sollars | m.grech-sollars@imperial.ac.uk | Imperial College London | Siemens | Prisma VE11C | 3 | NIST | 130 | 102 |  | se_TI50/400/1100/2400 | Spin-echo inversion recovery | ['256 256 1'] | ['1 1 2'] | 2D | 2550 | 14 | [50, 400, 1100, 2400] | 130
2.001 | siyuanhu_casewestern_NIST | https://osf.io/46nd9/download/ | 20200124_siyuanhu_casewestern_NIST/20200124_siyuanhu_casewestern_NIST_Magnitude_T1map.nii.gz | Magnitude | Siyuan Hu | siyuan.hu@case.edu | Biomedical Engineering, Case Western Reserve University | Siemens | Skyra | 3 | NIST | 130 | 6 | 19.1 | SE_IR | Spin-echo inversion recovery | ['256 256 1'] | ['1 1 2'] | 2D | 2550 | 14 | [50, 400, 1100, 2500]
3.001 | iveslevesque_muhc_mgh_NIST | https://osf.io/nk6ae/download/ | 20200203_iveslevesque_muhc_mgh_NIST/20200203_iveslevesque_muhc_mgh_NIST_Magnitude_T1map.nii.gz | Magnitude | Ives Levesque | ives.levesque@mcgill.ca | McGill University Health Centre - Montreal General Hospital | Siemens | syngo MR E11 | 3 | NIST | 130 | 34 |  | T1_se_cor_TI | Spin-echo inversion recovery | ['256 256 1'] | ['1 1 2'] | 2D | 2550 | 14 | [50, 400, 1100, 2500] | 390
4.001 | mrel_usc_NIST | https://osf.io/t5y28/download/ | 20200204_mrel_usc_NIST/20200204_mrel_usc_GE3T_MR1_NIST_Magnitude_T1map.nii.gz | Magnitude | Nam Lee | namgyunl@usc.edu | Keck Medical Center of University of Southern California GE 1 | GE | Signa HDxt | 3 | NIST | 130 | 38 | 20.9 | 2D Spin Echo, IR | Spin-echo inversion recovery | ['256 256 1'] | ['1 1 2'] | 2D | 2550 | 14 | [50, 400, 1100, 2500] | 244.141
4.002 | mrel_usc_NIST | https://osf.io/t5y28/download/ | 20200204_mrel_usc_NIST/20200204_mrel_usc_GE3T_MR2_NIST_Magnitude_T1map.nii.gz | Magnitude | Nam Lee | namgyunl@usc.edu | Keck Medical Center of University of Southern California GE 2 | GE | Signa HDxt | 3 | NIST | 130 | 38 | 20.9 | 2D Spin Echo, IR | Spin-echo inversion recovery | ['256 256 1'] | ['1 1 2'] | 2D | 2550 | 14 | [50, 400, 1100, 2500] | 244.141
4.003 | mrel_usc_NIST | https://osf.io/t5y28/download/ | 20200204_mrel_usc_NIST/20200209_mrel_usc_GE3T_MR1_NIST_Magnitude_T1map.nii.gz | Magnitude | Nam Lee | namgyunl@usc.edu | Keck Medical Center of University of Southern California GE 1 | GE | Signa HDxt | 3 | NIST | 130 | 38 | 20.9 | 2D Spin Echo, IR | Spin-echo inversion recovery | ['256 256 1'] | ['1 1 2'] | 2D | 2550 | 14 | [50, 400, 1100, 2500] | 244.141
4.004 | mrel_usc_NIST | https://osf.io/t5y28/download/ | 20200204_mrel_usc_NIST/20200209_mrel_usc_GE3T_MR1_TR10sec_NIST_Magnitude_T1map.nii.gz | Magnitude | Nam Lee | namgyunl@usc.edu | Keck Medical Center of University of Southern California GE 1 | GE | Signa HDxt | 3 | NIST | 130 | 38 | 20.9 | 2D Spin Echo, IR | Spin-echo inversion recovery | ['256 256 1'] | ['1 1 2'] | 2D | 10000 | 14 | [50, 400, 1100, 2500] | 244.141
4.005 | mrel_usc_NIST | https://osf.io/t5y28/download/ | 20200204_mrel_usc_NIST/20200209_mrel_usc_GE3T_MR2_NIST_Magnitude_T1map.nii.gz | Magnitude | Nam Lee | namgyunl@usc.edu | Keck Medical Center of University of Southern California GE 2 | GE | Signa HDxt | 3 | NIST | 130 | 38 | 20.9 | 2D Spin Echo, IR | Spin-echo inversion recovery | ['256 256 1'] | ['1 1 2'] | 2D | 2550 | 14 | [50, 400, 1100, 2500] | 244.141
4.006 | mrel_usc_NIST | https://osf.io/t5y28/download/ | 20200204_mrel_usc_NIST/20200209_mrel_usc_GE3T_MR2_TR10sec_NIST_Magnitude_T1map.nii.gz | Magnitude | Nam Lee | namgyunl@usc.edu | Keck Medical Center of University of Southern California GE 2 | GE | Signa HDxt | 3 | NIST | 130 | 38 | 20.9 | 2D Spin Echo, IR | Spin-echo inversion recovery | ['256 256 1'] | ['1 1 2'] | 2D | 10000 | 14 | [50, 400, 1100, 2500] | 244.141
5.001 | guillaumegilbert_muhc_NIST | https://osf.io/vw24u/download/ | 20200210_guillaumegilbert_muhc_NIST/20200210_guillaumegilbert_muhc_NIST_Magnitude_T1map.nii.gz | Magnitude | Guillaume Gilbert | guillaume.gilbert@philips.com | McGill University Health Center | Philips | Ingenia R5.3.1 | 3 | NIST | 130 | 34 | 21.2 | RFE | Spin-echo inversion recovery | ['192 192 1'] | ['1 1 2'] | 2D | 2550 | 14 | [50, 400, 1100, 2500] | 364
5.002 | guillaumegilbert_muhc_NIST | https://osf.io/vw24u/download/ | 20200210_guillaumegilbert_muhc_NIST/20200210_guillaumegilbert_muhc_NIST_Complex_T1map.nii.gz | Complex | Guillaume Gilbert | guillaume.gilbert@philips.com | McGill University Health Center | Philips | Ingenia R5.3.1 | 3 | NIST | 130 | 34 | 21.2 | RFE | Spin-echo inversion recovery | ['192 192 1'] | ['1 1 2'] | 2D | 2550 | 14 | [50, 400, 1100, 2500] | 364
6.001 | CStehningPhilipsClinicalScienceGermany_NIST | https://osf.io/sjy5g/download/ | 20200225_CStehningPhilipsClinicalScienceGermany_NIST/20200225_CStehningPhilipsClinicalScienceGermany_Aachen_MR1_NIST_Magnitude_T1map.nii.gz | Magnitude | Shuo Zhang | shuo.zhang@philips.com | UKA RWTH Radiologie | Philips | Achieva 3T | 3 | NIST | 130 | 19 | 22.1 | IR SE | Spin-echo inversion recovery | ['192 192 1'] | ['1 1 2'] | 2D | 2550 | 16 | [50, 400, 1100, 2500] | xxx
6.002 | CStehningPhilipsClinicalScienceGermany_NIST | https://osf.io/sjy5g/download/ | 20200225_CStehningPhilipsClinicalScienceGermany_NIST/20200225_CStehningPhilipsClinicalScienceGermany_Aachen_MR1_NIST_Complex_T1map.nii.gz | Complex | Shuo Zhang | shuo.zhang@philips.com | UKA RWTH Radiologie | Philips | Achieva 3T | 3 | NIST | 130 | 19 | 22.1 | IR SE | Spin-echo inversion recovery | ['192 192 1'] | ['1 1 2'] | 2D | 2550 | 16 | [50, 400, 1100, 2500] | xxx
6.003 | CStehningPhilipsClinicalScienceGermany_NIST | https://osf.io/sjy5g/download/ | 20200225_CStehningPhilipsClinicalScienceGermany_NIST/20200225_CStehningPhilipsClinicalScienceGermany_Berlin_MR1_NIST_Magnitude_T1map.nii.gz | Magnitude | Christian Stehning | christian.stehning@philips.com | Deutsches Herzzentrum Berlin | Philips | Ingenia CDAS 3T | 3 | NIST | 130 | 19 | 23.2 | IR SE | Spin-echo inversion recovery | ['192 192 1'] | ['1 1 2'] | 2D | 2550 | 16 | [50, 400, 1100, 2500] | xxx
6.004 | CStehningPhilipsClinicalScienceGermany_NIST | https://osf.io/sjy5g/download/ | 20200225_CStehningPhilipsClinicalScienceGermany_NIST/20200225_CStehningPhilipsClinicalScienceGermany_Berlin_MR1_NIST_Complex_T1map.nii.gz | Complex | Christian Stehning | christian.stehning@philips.com | Deutsches Herzzentrum Berlin | Philips | Ingenia CDAS 3T | 3 | NIST | 130 | 19 | 23.2 | IR SE | Spin-echo inversion recovery | ['192 192 1'] | ['1 1 2'] | 2D | 2550 | 16 | [50, 400, 1100, 2500] | xxx
6.005 | CStehningPhilipsClinicalScienceGermany_NIST | https://osf.io/sjy5g/download/ | 20200225_CStehningPhilipsClinicalScienceGermany_NIST/20200225_CStehningPhilipsClinicalScienceGermany_Bonn_MR1_NIST_Magnitude_T1map.nii.gz | Magnitude | Burkhard Maedler | bmaedler@gmail.com | University Hospital Bonn Radiology | Philips | Ingenia CDAS 3T | 3 | NIST | 130 | 19 | 22 | IR SE | Spin-echo inversion recovery | ['192 192 1'] | ['1 1 2'] | 2D | 2550 | 16 | [50, 400, 1100, 2500] | xxx
6.006 | CStehningPhilipsClinicalScienceGermany_NIST | https://osf.io/sjy5g/download/ | 20200225_CStehningPhilipsClinicalScienceGermany_NIST/20200225_CStehningPhilipsClinicalScienceGermany_Bonn_MR1_NIST_Complex_T1map.nii.gz | Complex | Burkhard Maedler | bmaedler@gmail.com | University Hospital Bonn Radiology | Philips | Ingenia CDAS 3T | 3 | NIST | 130 | 19 | 22 | IR SE | Spin-echo inversion recovery | ['192 192 1'] | ['1 1 2'] | 2D | 2550 | 16 | [50, 400, 1100, 2500] | xxx
6.007 | CStehningPhilipsClinicalScienceGermany_NIST | https://osf.io/sjy5g/download/ | 20200225_CStehningPhilipsClinicalScienceGermany_NIST/20200225_CStehningPhilipsClinicalScienceGermany_Cologne_MR1_NIST_Magnitude_T1map.nii.gz | Magnitude | Kilian Weiss | kilian.weiss@philips.com | Universitaetsklinikum Koeln | Philips | Ingenia 3T | 3 | NIST | 130 | 19 | 21.7 | IR SE | Spin-echo inversion recovery | ['192 192 1'] | ['1 1 2'] | 2D | 2550 | 16 | [50, 400, 1100, 2500] | xxx
6.008 | CStehningPhilipsClinicalScienceGermany_NIST | https://osf.io/sjy5g/download/ | 20200225_CStehningPhilipsClinicalScienceGermany_NIST/20200225_CStehningPhilipsClinicalScienceGermany_Cologne_MR1_NIST_Complex_T1map.nii.gz | Complex | Kilian Weiss | kilian.weiss@philips.com | Universitaetsklinikum Koeln | Philips | Ingenia 3T | 3 | NIST | 130 | 19 | 21.7 | IR SE | Spin-echo inversion recovery | ['192 192 1'] | ['1 1 2'] | 2D | 2550 | 16 | [50, 400, 1100, 2500] | xxx
6.009 | CStehningPhilipsClinicalScienceGermany_NIST | https://osf.io/sjy5g/download/ | 20200225_CStehningPhilipsClinicalScienceGermany_NIST/20200225_CStehningPhilipsClinicalScienceGermany_Cologne_MR3_NIST_Magnitude_T1map.nii.gz | Magnitude | Kilian Weiss | kilian.weiss@philips.com | Universitaetsklinikum Koeln | Philips | Ingenia 3T (tuned to slightly lower f0 due to proximity to other MR systems) | 3 | NIST | 130 | 19 | 22 | IR SE | Spin-echo inversion recovery | ['192 192 1'] | ['1 1 2'] | 2D | 2550 | 16 | [50, 400, 1100, 2500] | xxx
6.01 | CStehningPhilipsClinicalScienceGermany_NIST | https://osf.io/sjy5g/download/ | 20200225_CStehningPhilipsClinicalScienceGermany_NIST/20200225_CStehningPhilipsClinicalScienceGermany_Cologne_MR3_NIST_Complex_T1map.nii.gz | Complex | Kilian Weiss | kilian.weiss@philips.com | Universitaetsklinikum Koeln | Philips | Ingenia 3T (tuned to slightly lower f0 due to proximity to other MR systems) | 3 | NIST | 130 | 19 | 22 | IR SE | Spin-echo inversion recovery | ['192 192 1'] | ['1 1 2'] | 2D | 2550 | 16 | [50, 400, 1100, 2500] | xxx
6.011 | CStehningPhilipsClinicalScienceGermany_NIST | https://osf.io/sjy5g/download/ | 20200225_CStehningPhilipsClinicalScienceGermany_NIST/20200225_CStehningPhilipsClinicalScienceGermany_Cologne_MR4_NIST_Magnitude_T1map.nii.gz | Magnitude | Kilian Weiss | kilian.weiss@philips.com | Universitaetsklinikum Koeln | Philips | Ingenia 3T | 3 | NIST | 130 | 19 | 22 | IR SE | Spin-echo inversion recovery | ['192 192 1'] | ['1 1 2'] | 2D | 2550 | 16 | [50, 400, 1100, 2500] | xxx
6.012 | CStehningPhilipsClinicalScienceGermany_NIST | https://osf.io/sjy5g/download/ | 20200225_CStehningPhilipsClinicalScienceGermany_NIST/20200225_CStehningPhilipsClinicalScienceGermany_Cologne_MR4_NIST_Complex_T1map.nii.gz | Complex | Kilian Weiss | kilian.weiss@philips.com | Universitaetsklinikum Koeln | Philips | Ingenia 3T | 3 | NIST | 130 | 19 | 22 | IR SE | Spin-echo inversion recovery | ['192 192 1'] | ['1 1 2'] | 2D | 2550 | 16 | [50, 400, 1100, 2500] | xxx
6.013 | CStehningPhilipsClinicalScienceGermany_NIST | https://osf.io/sjy5g/download/ | 20200225_CStehningPhilipsClinicalScienceGermany_NIST/20200225_CStehningPhilipsClinicalScienceGermany_Hamburg_MR1_NIST_Magnitude_T1map.nii.gz | Magnitude | Christian Stehning | christian.stehning@philips.com | Philips Research Hamburg | Philips | Ingenia DDAS 3T | 3 | NIST | 130 | 19 | 20.8 | IR SE | Spin-echo inversion recovery | ['192 192 1'] | ['1 1 2'] | 2D | 2550 | 16 | [50, 400, 1100, 2500] | xxx
6.014 | CStehningPhilipsClinicalScienceGermany_NIST | https://osf.io/sjy5g/download/ | 20200225_CStehningPhilipsClinicalScienceGermany_NIST/20200225_CStehningPhilipsClinicalScienceGermany_Hamburg_MR1_NIST_Complex_T1map.nii.gz | Complex | Christian Stehning | christian.stehning@philips.com | Philips Research Hamburg | Philips | Ingenia DDAS 3T | 3 | NIST | 130 | 19 | 20.8 | IR SE | Spin-echo inversion recovery | ['192 192 1'] | ['1 1 2'] | 2D | 2550 | 16 | [50, 400, 1100, 2500] | xxx
7.001 | iveslevesque_muhc_glen_NIST | https://osf.io/nax9z/download/ | 20200226_iveslevesque_muhc_glen_NIST/PowerError/20200226_iveslevesque_muhc_glen_PowerError_NIST_Magnitude_T1map.nii.gz | Magnitude | Ives Levesque | ives.levesque@mcgill.ca | McGill University Health Center | Philips | Ingenia R5.3.1 | 3 | NIST | 130 | 34 | 21.2 | RFE | Spin-echo inversion recovery | ['256 256 1'] | ['1 1 2'] | 2D | 2700 | 14 | [50, 400, 1100, 2500] | 364
7.002 | iveslevesque_muhc_glen_NIST | https://osf.io/nax9z/download/ | 20200226_iveslevesque_muhc_glen_NIST/NoPowerError/20200226_iveslevesque_muhc_glen_NoPowerError_NIST_Magnitude_T1map.nii.gz | Magnitude | Ives Levesque | ives.levesque@mcgill.ca | McGill University Health Centre - Glen Site - Cedars | Philips | MR 53.1 | 3 | NIST | 130 | 34 |  | WIP IR_SE_TI_ISMRM | Spin-echo inversion recovery | ['256 256 1'] | ['1 1 2'] | 2D | 2550 | 14 | [50, 400, 1100, 2500] | 397
8.001 | karakuzu_polymtl_NIST | https://osf.io/bfh4m/download/ | 20200227_karakuzu_polymtl_NIST/20191213_UNF/20191213_karakuzu_UNF_FS_NIST_Magnitude_T1map.nii.gz | Magnitude | Agah Karakuzu | agah.karakuzu@gmail.com | Unite de neuroimagerie fonctionelle | Siemens | Prisma fit | 3 | NIST | 130 | 34 | 22.1 | t2_tse_dark-fluid_cor | Spin-echo inversion recovery | ['256 256 1'] | ['1 1 2'] | 2D | 2550 | 16 | [50, 400, 1100, 2400] | 287
8.002 | karakuzu_polymtl_NIST | https://osf.io/bfh4m/download/ | 20200227_karakuzu_polymtl_NIST/20200227_MNI/20200227_karakuzu_mni_FS_NIST_Magnitude_T1map.nii.gz | Magnitude | Agah Karakuzu | agah.karakuzu@gmail.com | Montreal Neurological Institute | Siemens | Prisma fit | 3 | NIST | 130 | 34 | 22 | t2_tse_dark-fluid_cor | Spin-echo inversion recovery | ['256 256 1'] | ['1 1 2'] | 2D | 2550 | 16 | [50, 400, 1100, 2400] | 285
9.001 | madelinecarr_lha_NIST | https://osf.io/8nugw/download/ | 20200227_madelinecarr_lha_NIST/20200227_madelinecarr_lha_NIST_Magnitude_T1map.nii.gz | Magnitude | Madeline Carr | mec640@uowmail.edu.au | Liverpool Hospital Australia | Siemens | Magnetom Skyra | 3 | NIST | 310 | 73 | 19.72 | SE_IR | Spin-echo inversion recovery | ['256 256 1'] | ['1 1 2'] | 2D | 2550 | 14 | [50, 400, 1100, 2500] | 130
10.001 | niloufar_hfmc_NIST | https://osf.io/psyh4/download/ | 20200229_niloufar_hfmc_NIST/20200229_niloufar_hfmc_4point_NIST_Magnitude_T1map.nii.gz | Magnitude | Niloufar Zakariaei | nzakari1@hfhs.org | Henry Ford Medical Center - Cottage | Siemens | ViewRay MR-Linac | 0.35 | NIST | 130 | 0088 | 21.4 | vti_t1mapping_ti_0 | Spin-echo inversion recovery | ['256 256 1'] | ['1 1 6'] | 2D | 5000 | 10 | [50, 500, 1000, 2500] | 227
10.002 | niloufar_hfmc_NIST | https://osf.io/psyh4/download/ | 20200229_niloufar_hfmc_NIST/20200229_niloufar_hfmc_14point_NIST_Magnitude_T1map.nii.gz | Magnitude | Niloufar Zakariaei | nzakari1@hfhs.org | Henry Ford Medical Center - Cottage | Siemens | ViewRay MR-Linac | 0.35 | NIST | 130 | 0088 | 21.4 | vti_t1mapping_ti_0 | Spin-echo inversion recovery | ['256 256 1'] | ['1 1 6'] | 2D | 5000 | 10 | [0, 25, 50, 70, 100, 150, 200, 300, 500, 800, 1000, 1500, 2000, 2500] | 227
11.001 | wang_MDAnderson_NIST | https://osf.io/kszy2/download/ | 20200302_wang_MDAnderson_NIST/day1/20200302_wang_MDAnderson_day1_NIST_Magnitude_T1map.nii.gz | Magnitude | Chenyang Wang | CWang23@mdanderson.org | MD Anderson | GE MEDICAL SYSTEMS | DV26.0_R03_1831.b | 3 | NIST | 130 | Unknown | ['19.79 19.35'] | IR Spin Echo TI=50,400,1100,2500 | Spin-echo inversion recovery | ['256 256 1'] | ['1 1 2'] | 2D | 2550 | 14 | [50, 400, 1100, 2500] | 122.109
11.002 | wang_MDAnderson_NIST | https://osf.io/kszy2/download/ | 20200302_wang_MDAnderson_NIST/day1/20200302_wang_MDAnderson_day1_NIST_Complex_T1map.nii.gz | Complex | Chenyang Wang | CWang23@mdanderson.org | MD Anderson | GE MEDICAL SYSTEMS | DV26.0_R03_1831.b | 3 | NIST | 130 | Unknown | ['19.79 19.35'] | IR Spin Echo TI=50,400,1100,2500 | Spin-echo inversion recovery | ['256 256 1'] | ['1 1 2'] | 2D | 2550 | 14 | [50, 400, 1100, 2500] | 122.109
11.003 | wang_MDAnderson_NIST | https://osf.io/kszy2/download/ | 20200302_wang_MDAnderson_NIST/day2/20200302_wang_MDAnderson_day2_NIST_Magnitude_T1map.nii.gz | Magnitude | Chenyang Wang | CWang23@mdanderson.org | MD Anderson | GE MEDICAL SYSTEMS | DV26.0_R03_1831.b | 3 | NIST | 130 | Unknown | ['19.65 19.38'] | IR Spin Echo TI=50,400,1100,2500 | Spin-echo inversion recovery | ['256 256 1'] | ['1 1 2'] | 2D | 2550 | 14 | [50, 400, 1100, 2500] | 122.109
11.004 | wang_MDAnderson_NIST | https://osf.io/kszy2/download/ | 20200302_wang_MDAnderson_NIST/day2/20200302_wang_MDAnderson_day2_NIST_Complex_T1map.nii.gz | Complex | Chenyang Wang | CWang23@mdanderson.org | MD Anderson | GE MEDICAL SYSTEMS | DV26.0_R03_1831.b | 3 | NIST | 130 | Unknown | ['19.65 19.38'] | IR Spin Echo TI=50,400,1100,2500 | Spin-echo inversion recovery | ['256 256 1'] | ['1 1 2'] | 2D | 2550 | 14 | [50, 400, 1100, 2500] | 122.109
12.001 | ngmaforo_ucla_NIST | https://osf.io/ab2zg/download/ | 20200305_ngmaforo_ucla_NIST/20200305_ngmaforo_ucla_Prisma_noFS_NIST_Magnitude_T1map.nii.gz | Magnitude | Nyasha G. Maforo | nmaforo@mednet.ucla.edu | University of California, Los Angeles | Siemens | Prisma VE11C | 3 | NIST | 130 | 38 | 21.1 | t2_tse_dark-fluid_cor | Spin-echo inversion recovery | ['256 256 1'] | ['1 1 2'] | 2D | 2550 | 17 | [50, 400, 1100, 2400] | 283
12.002 | ngmaforo_ucla_NIST | https://osf.io/ab2zg/download/ | 20200305_ngmaforo_ucla_NIST/20200305_ngmaforo_ucla_Prisma_FS_NIST_Magnitude_T1map.nii.gz | Magnitude | Nyasha G. Maforo | nmaforo@mednet.ucla.edu | University of California, Los Angeles | Siemens | Prisma VE11C | 3 | NIST | 130 | 38 | 21.1 | t2_tse_dark-fluid_cor | Spin-echo inversion recovery | ['256 256 1'] | ['1 1 2'] | 2D | 2550 | 17 | [50, 400, 1100, 2400] | 283
12.003 | ngmaforo_ucla_NIST | https://osf.io/ab2zg/download/ | 20200305_ngmaforo_ucla_NIST/20200305_ngmaforo_ucla_Skyra_noFS_NIST_Magnitude_T1map.nii.gz | Magnitude | Nyasha G. Maforo | nmaforo@mednet.ucla.edu | University of California, Los Angeles | Siemens | Skyra VE11C | 3 | NIST | 130 | 38 | 21.5 | t2_tse_dark-fluid_cor | Spin-echo inversion recovery | ['256 256 1'] | ['1 1 2'] | 2D | 2550 | 17 | [50, 400, 1100, 2400] | 283
12.004 | ngmaforo_ucla_NIST | https://osf.io/ab2zg/download/ | 20200305_ngmaforo_ucla_NIST/20200305_ngmaforo_ucla_Skyra_FS_NIST_Magnitude_T1map.nii.gz | Magnitude | Nyasha G. Maforo | nmaforo@mednet.ucla.edu | University of California, Los Angeles | Siemens | Skyra VE11C | 3 | NIST | 130 | 38 | 21.5 | t2_tse_dark-fluid_cor | Spin-echo inversion recovery | ['256 256 1'] | ['1 1 2'] | 2D | 2550 | 17 | [50, 400, 1100, 2400] | 283
13.001 | near_douglas_NIST | https://osf.io/qr6w2/download/ | 20200309_near_douglas_NIST/20200309_near_douglas_NIST_Magnitude_T1map.nii.gz | Magnitude | Jamie Near | jamie.near@mcgill.ca | Douglas Brain Imaging Centre | Siemens | Prisma fit | 3 | NIST | 130 | 34 | 22 | t2_tse_dark-fluid_cor | Spin-echo inversion recovery | ['256 256 1'] | ['1 1 2'] | 2D | 2550 | 16 | [50, 400, 1100, 2400] | 287
14.001 | jalnefjord_sahlgrenska_NIST | https://osf.io/tw6eq/download/ | 20201802_jalnefjord_sahlgrenska_NIST/20201802_jalnefjord_sahlgrenska_NIST_Complex_T1map.nii.gz | Complex | Oscar Jalnefjord | oscar.jalnefjord@gu.se | Sahlgrenska University Hospital | Philips | Achieva dStream 5.6.1 | 3 | NIST | 130 | 67 | 21.7 | IR | Spin-echo inversion recovery | ['256 256 1'] | ['1 1 2'] | 2D | 2550 | 14 | [50, 400, 1100, 2500] | 435